| 1st NIGHT Day 3 august Gert |  | Theme |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
|  | 16:00-01:00 | Telescope mechanical problem with rotator | No calibration data. Some biases taken in the morningbut not by me... NO Twilights because of the problem. |  |

| 1st NIGHT Night 3 / 4 aug |  | Zero point SA113, Polar field, 32 pointings SA113 r and g, |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
| STD216 1-7 | 1:45 | Zeropoints SA113 u,g,r,i,i?,z,ugri | Tracking not optimal (no guide star), template seems to be not OK, I band 2 times; CHECK if both I bands are OK. |  |
| STD216 8 | 2:30 | Polar Field composite filter | Check tracking. |  |
|  |  | Problems with 32 pointings template |  |  |
| OBS216 6-38 | 02:50 | 32 CCDs of SA113 in r' , 75s | One strange file in between with name: OMEGACAM_IMG_OBS216_0011_0001.fits ??? |  |
| OBS216 39-71 | 03:55 | 32 CCDs of SA113 in g' , 60s |  |  |
| OBS216 72-76 | 04:55 | M31 in r (90sec?) | At Koen's request |  |
| OBS216 77-78 | 05:10 | Background obs for M31 | id. |  |
| OBS216 79-103 | 05:22 | Calibration images in B, V, NB_659, ugri, Halpha | GOAL: To determine the effect of reflections of a brights at/near borders of filters B,V, NB_659, ugri, Halpa |  |
| STD216 9 | 06:02 | Polar Field composite filter |  |  |
| STD216 10-12 | 06:12 | Polar Field composite filter 90 degrees rotated 3 steps | Note : just before twilight. Not sure if these are useful. |  |
|  |  | END OF NIGHT | ACCORDING to MONITORING script using the FIRST and LAST polar field, this night was PHOTOMETRIC . NOTE: the dimm tool showed possible non-photometric conditions between 04:30 and 04:50. |  |
|  | Morning | Calibration data.... biases, readnoise, domeflats etc. etc. |  |  |