| 2nd NIGHT Day 4 august Gert/ Koen |  | Theme |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
|  | 16:00-00:30 | Solving problems with rotator, AG, astrometry | No calibration data. NO Twilights because of ...again a pointing problem. |  |

| NIGHT 2 Night 4 / 5 aug |  | Zero point SA113, Polar field, Secondary Standards Polar Field u,g,r, 32 pointings SA113 u, 32 pointings SA92 u, Galaxies M31, M33, NGC891, Zeropoints M92 |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
| STD217 1 | 0:35 | Polar Field composite filter | Check tracking. |  |
| OBS217 13-17 | 0:53 | Polar Field Secondary Standards u | 5 point dither template. First image is crap, other 4 are OK, 115s, 1.7” seeing |  |
| OBS217 18-25 | 01:10 | Polar Field Secondary Standards g | Two 4 point dithers, first sequence 2nd and 4th are crap, second sequence OK, 60 sec |  |
| OBS217 26-29 | 01:25 | Polar Field Secondary Standards r | 4 point dither, 75 sec. |  |
| STD217 2-6 | 01:50 | Zeropoints of SA113, u,g,r,i,z | First we did a focus sequence. → OBS217 30 and 31 |  |
| OBS217 32-64 | 02:15 | 32 CCDs of SA113 in u' ,115s |  |  |
| OBS217 71-103 | 03:55 | 32 CCDs of SA92 in g' ,60s |  |  |
| OBS217 104-121 | 04:55 | M31 g, M33 g , M33 r, NGC891 g, NGC891 r, NGC891 g | All 3 times dithered, nice pictures at low altitude. First NGC891 in g does not have a dither pather suited for this galaxy. |  |
| STD217 7 | 06:05 | Polar Field extinction u_g_r_i |  |  |
| STD217 8-13 | 06:15 | Zeropoints of SA92, u,g,r,i,z,u_g_r_i | End of Night |  |
|  |  | Both Monitoring script and DIMM meteo report a photometric night |  |  |
|  |  | END OF NIGHT |  |  |
|  | Morning | Calibration data.... biases, readnoise, domeflats etc. etc. |  |  |