| 3nd NIGHT Day 5 august Gert/ Koen |  | Theme |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
|  | morning |  | Twilights in R, Calibration data, bias , readnoise, domes etc. |  |
|  | 18:00-19:00 | Twilights u and i |  |  |
|  | 20:00-23:50 | Solving problems with rotator, AG, astrometry | No calibration data. NO Twilights because of ...again a pointing problem. |  |

| NIGHT 3 Night 5 / 6 aug |  | Polar field, P.F. Rotator angle composite filter, Secondary Standards Polar Field z,i, 32 pointings SA113 i, 32 pointings SA95 z, CTE z, M33 Halpha |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
| STD218 1 | 23:50 | Polar Field composite filter | Check tracking. Varying seeing |  |
| OBS218 2-5 | 00:05 | Polar Field composite filter 4 rotator angles | Please check if the orientation of the last exposure is not similar to one of the previous three |  |
| OBS218 48-57 | 00:35 | Polar Field Secondary Standards i,z |  |  |
| STD218 6-12 | 01:02 | SA113, ugrizBV | zeropoints |  |
| OBS218 58-62 | 01:40 | KIDS r band |  |  |
| OBS218 64-67 | 02:45 | KIDS u band | After refocussing (OBS218 63) |  |
| OBS218 68-100 | 03:05 | 32 CCDs of SA113 in i' | Good seeing < 1”, but slightly out of focus |  |
| OBS218 101-133 | 04:40 | 32 CCDs of SA95 in z' | Good seeing < 1”, but slightly out of focus |  |
| OBS218 134-136 | 05:45 | CTE measurement in z' of SA95, 1600 pixels offset in y | 3 exposures with 1600 pixels offset in y. PLEASE VERIFY IF THE OFFSETS ARE CORRECT/USEFUL |  |
| OBS218 137-139 | 05:55 | M33 in halpha (NB_659) |  |  |
| STD218 13 | 06:10 | Polar Field extinction u_g_r_i |  |  |
| STD218 14-17 | 06:15 | SA95 zeropoints, g,r,i,z |  |  |
|  |  | Both Monitoring script and DIMM meteo report a photometric night, but with varying seeing. |  |  |
|  |  | END OF NIGHT |  |  |
|  | Morning |  |  |  |