| 7th NIGHT Day 9 August Gert/ Koen |  | Theme |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
|  | morning | Calibrations. These also contain the shutter tests for B and z' (0.2s + standard exposure time). The V band shutter test are not valid (only one 0.2s exposure has lamp on). We will redo V tomorrow. |  |  |
| FLT221 78-82 | 18:30 | Twilights in u' | POSANG=0. |  |
| FLT221 83-90 | 18:35 | Twilights in r' rotating | POSANG=71, -19,-109,-199 respecively |  |
| FLT221 91-96 | 18:50 | Twilights in i', | Probably not useful because POSANG=163 |  |

| NIGHT 7 Night 9/10 aug |  | Polar field (rotating 4x for composite filter and single filters), Hercules I, fields 4,5,8, 37 pointings SA115 V, SA92 i, SA95 i, SA92 zeropoints (ADCin and ADCout) |  |  |
| --- | --- | --- | --- | --- |
| Seq | Local time | Activity | Comment |  |
| STD221 13-17 | 19:00 | Zeropoints SA107, ugriz |  |  |
| STD221 18 | 19:25 | Polar field composite | photometric |  |
| STD221 19-20 | 19:55 | Zp, SA107 B and V |  |  |
| STD222 1 | 19:55 | Zp, SA107 v stromgren |  |  |
| OBS222 1-5 | 20:15 | Hercules field 8 in i', 5x360s | Seeing degrades in last few images! (2”) |  |
| OBS222 6-15 | 21:15 | Hercules field 4 in i', 2 times 5x360s | Varying Seeing (~2”) |  |
| OBS222 16-20 | 22:35 | Hercules field 5 in i', 5x360s | Varying seeing 1” – 2” |  |
| OBS222 21-57 | 23:15 | SA113 in V with 37 offsets (including 4 half chips) |  |  |
| STD222 2-6 | 00:35 | Polar Field composite + ugri single filters | Rotator angle 0 |  |
| STD222 7-11 | 00:55 | Polar Field composite + ugri single filters | Rotator angle 90 |  |
| STD222 12-16 | 01:15 | Polar Field composite + ugri single filters | Rotator angle 180 |  |
| STD222 17-21 | 01:35 | Polar Field composite + ugri single filters | Rotator angle 270, seeing very large 3” |  |
| STD222 22-26 | 01:55 | SA113 zeropoints ugriz |  |  |
| OBS222 58-94 | 02:15 | SA92 37 pointings i band (incl. half chips) |  |  |
| STD222 27-31 | 04:00 | SA92 zeropoints |  |  |
| STD222 32-36 | 04:15 | SA92 zeropoints ADC in |  |  |
| OBS222 95-131 | 04:35 | SA95 37 pointings i band (incl. half chips) |  |  |
| STD222 37 | 06:15 | Polar field u_g_r_i | Photometric |  |
|  |  | Both Monitoring script and DIMM meteo report that parts of the night were slightly non- photometric with varying seeing. |  |  |
|  |  | END OF NIGHT |  |  |
|  | Morning |  |  |  |